## Arduino Uno
Digital | 0
1
2
3
4
5
6
7
8
9
10
11
12
13
Analog | A0
A1
A2
A3
A4
A5

## IO
* not implemented
Inputs
A0 | Enclosure Temp/RH
A1 | Greenhouse Temp/RH
A2 | Outdoor Temp/RH
A4 | Low water sensor evap
A3 | digital temp sensors
* | low water reserve sensor
* | soil moisture
* | pH
* | TDS
Outputs
13 | Misting relay
12 | low speed fan
11 | med speed fan
10 | hi speed fan
9 | evap water pump
8 | exhaust relay 1
7 | exhaust relay 2
2 | main heat pump
solenoid 1
solenoid 2
solenoid 3
solenoid 4
solenoid 5
* | hydro pump 1
* | hydro pump 2
* | lights